Technical characteristics КРУ 6(10) кВ

| NAME OF PARAMETER | PARAMETER VALUE |
| --- | --- |
| Nominal voltage, kV | 6,0 (10,0) |
| Maximum working voltage, kV | 7,2 (12) |
| Nominal current of the main circuits, А | to 3150 |
| Conventional thermal current, кА | to 40 |
| Breaker type | BB/TEL, LF, Evolis, VD4 и др. |
| Type of the relay protection and automatics unit | Siprotec, Sepam, Сириус, БМРЗ и др. |
| Protection degree of the casing | IP42 |
| SLL; Service Life Limit | For GT and ST = 200000 |
| Time between overhaul | For GT = 48000 |
| The weight of the main equipment | 117 |