Technical features

| The parameter | The value |
| --- | --- |
| The full nominal output power, kVA | 2600 |
| The nominal current on the converter output, A | 250 |
| The nominal output voltage, kV | 6 |
| The nominal current frequency of the supply mains, Hz | 50 |
| The efficiency of converter of the nominal mode, % | 98 |
| The power factor of the nominal mode | Not less than 0,95 |