Filter House

| Name of parameter | Value |
| --- | --- |
| Degree of filtering the atmospheric air coming into the GTU as per GOST R 51251 and European norms EN 779 and EN 1822 | F9 |
| Combustion air filtering, kg/s | 100 |
| Degree of filtering the atmospheric air supplied for cooling under the GTU enclosure as per GOST R 51251 and European norms EN 779 and EN 1822 | G4 |
| Filtering the atmospheric air supplied for cooling under the GTU enclosure and the purge air cooler, Nm³/h | 81000 |
| Nominal hydraulic resistance of the inlet duct (difference between the atmospheric pressure and total pressure upstream the GTU IGV), no more than, Pa | 1000 |
| Equivalent sound level at a distance of 1 m and elevation of 1.5 m from the GPU with the GTU operating, no more than, dBA | 80 |
| Availability of the anti-icing system | As one set |