Semiconductor frequency converters

| Name of parameter | UOM | Value |
| --- | --- | --- |
| Total output power, no lower than | kVА | 5200 |
| Nominal output current | А | 910 |
| Efficiency in the nominal conditions (without transformers) | p.u. | 0,985 |
| Nominal power factor | p.u. | 0,96 |
| Nominal output voltage, Un | V | 3300 |
| Output voltage range | V | 0…Uн |
| Nominal frequency of output voltage, fn | Hz | 233 |
| Smooth start by underfrequency relay from 0 to the preset working frequency |  | 0...1.05хƒн |
| Cooling system | - | air |
| Protection degree as per GOST 14254 | - | IP22 |